Lab 13 – RL Lab

Names: Ivan Cervantes, Zackary Riegelman, Pavlo

Date: 12/3/15

The purpose of this lab is to:

Experiment with RL (Resistor & Inductor) circuits.

The following inductors are needed (1 each of the following): 1mH, 2.2mH and 4.7mH

Measure and record the resistor value using the DMM and measure and record the inductor values using the LCR meter in Table 1.  Connect the resistor and inductor as shown in Figure 1.  Connect the Function Generator to the input at V1 and connect Channel 1 of the Oscilloscope to the input and Channel 2 to the output. Adjust the voltage of the Function Generator to 1Vpp at the frequencies shown in Table 2. Measure the input and output voltages using the Oscilloscope. Record the results in Table 2.

Change the inductor and retest.

Equipment needed:

Figure 1

RL Circuit

1 – Digital Multimeter

1 – LCR Meter

1 – Oscilloscope

1 – Function Generator

1 – Elvis II

3 – inductors

1 – resistor, 100 ohm

|  | Inductance or Resistance |  |
| --- | --- | --- |
|  | Expected | Measured |
| L1 = | 1 mH | 1.0047 mH |
| L2 = | 2.2 mH | 2.1816 mH |
| L3 = | 4.7 mH | 4.3493 mH |
| R1 = | 100 Ω | 98.23 Ω |

Table 1 – Resistance and Inductances

Expected = value you expect it to be

Measured = using LCR Meter or DMM

Observations: We can measure inductance with the LCR meter to find the exact values of the inductors. The oscilloscope helped us determine the amount of voltage that was being outputted based on the frequency we adjusted the current to.